## 0_
| Correct | Comment
You take two sets of data. The first set A has 60 data points, and the second set B has 10 data points, but they have a similar scatter and central tendency. True or False: Set B will have a larger standard deviation | F | Standard deviation is the average distance of a point from the mean. If the scatter and central tendency are the same (that is, the points are scattered in a similar fashion around the mean), the Standard Deviation will be the same.
`

## 1_
| Correct | Comment
You take two sets of data. The first set A has 60 data points, and the second set B has 10 data points, but they have a similar scatter and central tendency. True or False: Set B will have a larger standard deviation of the mean | T | The SDM is the Sdev divided by the square of N, the number of data points. Since N is smaller for set B, its SDM will be larger: that is, if you retook data set B you would be less confident that the new mean would be close to the old mean (compared to if you retook data set A).

## 2_
| Correct | Comment
You take two sets of data. The first set A has 60 data points, and the second set B has 10 data points, but they have a similar scatter and central tendency. True or False: Set B will have a larger "t-score". | T | The t-score is a function of v = N-1. It will tend to be larger when N is smaller, because we are less sure of the validity of our data when we have a smaller number of data points.

## 3_
| Correct | Comment
You take two sets of data. The first set A has 60 data points, and the second set B has 10 data points, but they have a similar scatter and central tendency. True or False: If you take one more data point, the probability that a new single data point will land within a standard deviation is smaller for set B. | T | Even though the standard deviations are the same, the t-score for set B is larger, so the uncertainty (t * SD) will be larger. Again, this is because while the data shows the same scatter and central tendency, we are less sure that the data is repeatable, so the uncertainty has to be larger.

## 4_
| Correct | Comment
You take two sets of data. The first set A has 60 data points, and the second set B has 10 data points, but they have a similar scatter and central tendency. True or False: The mean value for set B will have a larger uncertainty | T | This is the uncertainty value that we will use most often: t*SDM. It represents the chance that if we retook the whole data set that the new mean value would lie within the uncertainty range.

## 5_
How many data points do you need to have "t" essentially equal to "z"? In other words, how many data points before adding more data points will not significantly improve your confidence level? | Correct | Comment
5 | N
10 | N
20 | N
60 | Y
200 | N

## 6_
You are measuring the height of the tallest man on earth. With a ladder. You take 14 measurements of his height, and have a standard deviation of 17.2 mm. You want to have a confidence level of 90%. What is the t-score in this situation? Use the t-score calculator directly above this question. | Correct | Comment
1.7709 | 0.005
Remember that v = N -1
Make sure that you are using the correct less-than-more-than equation from the dropdown. We want the "two-tailed" version--both sides of the normal distribution.
See the video to see how to enter the values

## 7_
You are measuring the height of the tallest woman on earth. Also with a ladder. You take 4 measurements of her height, and have a standard deviation of 14.0 mm. You want to have a confidence level of 95%. What is the uncertainty in the mean value of your measurement (in mm)? | Correct | Comment
22.3 | 0.1
Remember that v = N -1
Remember that when you want uncertainty in the mean value, you want to use SDM.

## 8_
Correct | Comment
N
N
Y
N

## 9_
Correct | Comment
N
N
Y
N

## 10_
Correct | Comment
N
N
Y
N

## MultC
What is the color of the car? | Correct | Comment
Red | N | Obviously it's not red.
Green | Y | You're brilliant!
Blue | N | You're stupid.
Black | N | So close. But not really that close.

## MultAns
What is the best kind of bear? | Correct | Comment
Grizzly | N | Obviously it's not the grizzly.
Polar | Y | You're brilliant!
Brown | N | You're stupid.
Black | Y | Battlestar Galactica.
Koala | N | It's not even a bear, dumbshit.

## Quant
What is 40.1 times 3? | Leeway | Comments
120.3 | 0.3
Don't forget to include the density
You may have a problem with units
Did you add correctly, shithead?

## Matching
Terms | Correct order of definitions | Definitions
State | C | Metric answer | Comment on State
Library | B | Library answer
Function | E | State answer | Comment on "Function"
Metric | A | Red herring 1
Function defintion
Red herring 2

## True_False
Mark each statement True (T) or False (F) | Correct | Comment
Dogs are better than cats. | T | Obviously.
Pigs are better than cows. | T | Especially if you are eating them.
Squirrels are better than rats. | F | Trick question!
Dolphins are better than sharks. | T | Depends on your gender identity