## 0_
The Wheatstone bridge pictured above is balanced *only* when:
The ratio between R1:R2 is the same as the ratio between R3:R4 | Y | The ratio between these two sets of resistors determines the voltages at the two mid-points of the bridge. If these two voltages are the same, the bridge is "balanced".
R1=R2 and R3=R4 | N | If this is true, the bridge is balanced, but it is not necessary for a balanced bridge.
R1=R3 and R2=R4 | N | If this is true, the bridge is balanced, but it is not necessary for a balanced bridge.
All four resistors are equal | N | If this is true, the bridge is balanced, but it is not necessary for a balanced bridge.

## 1_
Imagine the bridge is balanced. But R1 is sensitive to temperature. The temperature goes up, and the resistance of R1 goes up too. What happens to the voltage at the midpoint between R1 and R2?
The voltage goes up | N
The voltage stays the same | N
The voltage goes down | Y | If R1 is larger, the voltage drop across that resistor will be larger (deltaV = IR). So the voltage at the midpoint will be lower than it was before.

## 2_
Imagine the bridge is balanced. But R1 is sensitive to temperature. The temperature goes up, and the resistance of R1 goes up too. Assume R3 and R4 stay the same. What direction does the current flow through RM (at the measurement device)?
The current will flow down | N
There will be no current | N
The current will flow up | Y | The voltage between R1 and R2 goes down in this situation, as we saw in the last question. So the voltage at the R3:R4 midpoint is now higher than that at the R1:R2 midpoint, and this pushes a current up through RM at the measurement device.

## 3_
Imagine the bridge is balanced. But R1 is sensitive to temperature. The temperature goes up, and the resistance of R1 goes up too. This puts the bridge out of balance. If R2 is an adjustable resistor, how should we resist it in order to balance the bridge?
Make the resistance R2 larger | Y | We want the ratio R1:R2 to again be the same as R3:R4 (which has not changed). So since R1 went up, we want to increase R2 to return the ratio back to its starting point.
Keep the resistance R2 the same and let the system balance itself | N
Make the resistance R2 smaller | N

## 4_
Imagine the bridge is balanced when R1 = 100 ohms and R2 = 200 ohms. But R1 is sensitive to temperature. The temperature goes up, and the resistance of R1 goes up too. This puts the bridge out of balance. R2 is an adjustable resistor, and we increase its resistance by 8.0 ohms to balance the bridge again. If the sensitivity of R1 K = 2.0 ohm/degree C, how much did the temperature go up?
1.0 degree C | N
2.0 degree C | Y | To balnce the bridge with the original 1:2 ratio, we increased R2 to 208 ohms. This means that R1 must have increased by 4.0 ohms. The sensitivity tells us it will increase 2.0 ohms for every degree that the temperature goes up, so the temperature must have gone up 2.0 degrees.
4.0 degree C | N
8.0 degree C | N
16.0 degree C | N

## 5_
What are the key differences between the "null method" and the "deflection method"? Submit all that are true.
In the null method, the resistor is adjusted and the change in the resistor indicates the change in input. | Y
In the deflection method, the voltage difference between the two midpoints is measured, and this voltage indicates the change in input. | Y
The null method is better for measuring quickly changing values | N | Just the opposite is true: measuring voltage is much faster than balancing and measuring resistance
The null method depends on continually balancing the bridge while the deflection method does not | Y | This is why the deflection method is faster (and why it is called the "deflection" method!)

## MultC
What is the color of the car? | Correct | Comment
Red | N | Obviously it's not red.
Green | Y | You're brilliant!
Blue | N | You're stupid.
Black | N | So close. But not really that close.

## MultAns
What is the best kind of bear? | Correct | Comment
Grizzly | N | Obviously it's not the grizzly.
Polar | Y | You're brilliant!
Brown | N | You're stupid.
Black | Y | Battlestar Galactica.
Koala | N | It's not even a bear, dumbshit.

## Quant
What is 40.1 times 3? | Leeway | Comments
120.3 | 0.3
Don't forget to include the density
You may have a problem with units
Did you add correctly, shithead?

## True_False
Mark each statement True (T) or False (F) | Correct | Comment
Dogs are better than cats. | T | Obviously.
Pigs are better than cows. | T | Especially if you are eating them.
Squirrels are better than rats. | F | Trick question!
Dolphins are better than sharks. | T | Depends on your gender identity